SECTION 01 27 00 - UNIT PRICES

PART 1 - GENERAL

1.1	RELATED DOCUMENTS

A.	Construction Drawings, Technical Specifications, Addenda, and general provisions of the Contract, including Contract General Conditions and Supplementary General Conditions and other Division 1 Specification Sections, apply to this Section.

1.2	SECTION INCLUDES

COORDINATE UNIT PRICES IDENTIFIED IN THIS SECTION WITH UNIT PRICES STATED ON BID PROPOSAL FORM.

A.	Administrative and procedural requirements for unit prices.

1.3	RELATED SECTIONS

- VERIFY THAT SECTION TITLES REFERENCED IN THIS SECTION ARE CORRECT FOR THIS PROJECT'S SPECIFICATION; SECTION TITLES MAY HAVE CHANGED.

- FIRST DIVISION 1 SECTION BELOW CONTAINS REQUIREMENTS THAT RELATE DIRECTLY TO UNIT PRICES.

RETAIN SUBPARAGRAPH 2. BELOW ONLY IF UNIT PRICES MAY BE EMPLOYED AS A RESULT OF SPECIAL TESTING AND INSPECTING PROCEDURES REQUIRED BY LOCAL CODES AND SPECIFIED IN DIVISION 1.

1.	Section 01 21 00 - Allowance Procedures:  Procedures for using unit prices to adjust quantity allowances.

EDIT PARAGRAPH BELOW AND ADDITIONAL PARAGRAPHS TO IDENTIFY SECTIONS IN SPECIFICATIONS WHERE UNIT PRICES ARE USED.

2.	Section 01 45 00 - Quality Control:  General testing and inspecting requirements, including those tests and inspections based on unit prices.

REPEAT PARAGRAPH ABOVE AS NECESSARY TO INCLUDE ALL UNIT PRICES REQUIRED FOR PROJECT.

3.	Section [_Number_] - [_Title_]:  Procedures for measurement and payment for [_Description_of_Work_].

1.4	DEFINITIONS

DEFINITION BELOW ASSUMES THAT CONTRACT DOCUMENTS INDICATE OR PROVIDE ESTIMATED QUANTITIES AND WHERE BIDDERS STATE ON THE BID PROPOSAL FORM UNIT-PRICE AMOUNTS THEY PROPOSE.  REVISE IF BIDDERS ARE REQUIRED TO ESTIMATE QUANTITIES AS WELL AND INCLUDE THEM WITH THE BID.

A.	Unit Price:  An amount proposed by Bidder and stated on the Bid Proposal as a price per unit of measurement for materials or services that will be added to or deducted from the Contract Sum by Change Order in the event the estimated quantities of Work required by the Contract Documents are increased or decreased.

1.	Unit prices quoted in the Bid Proposal are for additions or deletions of approved items of Work.

2.	All unit prices quoted shall be for the items completely installed, furnished, and operable in accordance with the Contract Documents, and shall include profit, overhead, taxes, cost of coordinating the unit price work with adjacent work, compensation for risk of loss or damage to the work regardless of cause, all expenses due to delays in performance, so they are the complete price to the University.

3.	Unit prices shall not apply to work the Contractor elects to do for its own convenience or to correct errors committed by the Contractor.

4.	All unit prices shall remain in effect for the full term of the Contract.

5.	Quantities listed in the Contract Documents are approximate only.  Contract Amount shall be adjusted by change order using unit prices listed for actual quantities of Work performed.

USUALLY RETAIN PARAGRAPH BELOW.  IT WILL SUFFICE FOR ALL BUT THE MOST COMPLEX PROJECTS.  REVISE IF MANY UNIT PRICES ARE ANTICIPATED AND IF METHODS FOR MEASURING WORK-IN-PLACE ARE COMPLEX.  A SPECIAL ARTICLE OR ADDITIONAL PARAGRAPHS OUTLINING PROCEDURES FOR MEASUREMENT AND PAYMENT MIGHT BE NEEDED TO DEFINE RESPONSIBILITIES FOR COMPLEX SITUATIONS.

1.5	PROCEDURES

A.	Measurement and Payment Procedures:  As stated in General Conditions of the Contract.  Refer to individual product Specification Sections for Work that requires establishment of unit prices.  Basis of each unit price is specified in those Sections.

RETAIN BELOW AND REVISE TO SUIT SPECIAL PROJECT REQUIREMENTS.

1.	Measure:  University reserves the right to reject Contractor's measurement of work-in-place that involves use of established unit prices and to have this Work measured, at University's expense, by an independent surveyor.

B.	List of Unit Prices:  A list of unit prices is included at the end of this Section.  Specification Sections referenced in the schedule contain requirements for materials described under each unit price.

C.	The Trustees are not obligated to use the unit prices.

PART 2 - PRODUCTS

Not Applicable to this Section.

PART 3 - EXECUTION

IN PARAGRAPH AND SUBPARAGRAPHS BELOW, REMOVE TEXT ENCLOSED IN ANGLE BRACKETS AND INSERT TEXT TO SUIT PROJECT.

3.1	LIST OF UNIT PRICES

A.	Unit Price No. [_Number_]:  [_Title_].

1.	Description:  [_Unit_Price_Description_], according to Section [_Number_] - [_Title_].

REPEAT ABOVE AS OFTEN AS NECESSARY TO INCLUDE ALL UNIT PRICES REQUIRED FOR PROJECT.

2.	Unit of Measurement:  [_Description_].

END OF SECTION 01 27 00

THIS PAGE IS INTENTIONALLY BLANK