SECTION 01 65 00 - PRODUCT DELIVERY REQUIREMENTS

PART 1 - GENERAL

1.1	RELATED DOCUMENTS

A.	Construction Drawings, Technical Specifications, Addenda, and general provisions of the Contract, including Contract General Conditions and Supplementary General Conditions and other Division 1 Specification Sections, apply to this Section.

1.2	SECTION INCLUDES

A.	Protect products scheduled for use in the work by means including, but not necessarily limited to, those described in this Section.

1.3	RELATED SECTIONS

A.	Section 01 61 00 - Basic Product Requirements:  Qualitative requirements for products.

B.	Section 01 66 00 - Product Storage and Handling Requirements:  Requirements for protection of products after delivery.

1.4	QUALITY ASSURANCE

A.	Contractor's Quality Assurance:  Contractor shall include within the Contractor's quality assurance program procedures as necessary to ensure protection of products upon delivery.  Contractor shall be solely responsible for all products upon delivery to Work site and in off-site storage.

1.	Contractor shall schedule delivery to minimize long-term storage at Project site and to prevent overcrowding of construction spaces.

2.	Contractor shall coordinate delivery with installation time to ensure minimum holding time for items that are flammable, hazardous, easily damaged, or sensitive to deterioration, theft, and other losses.

3.	Contractor shall inspect products on delivery to ensure compliance with the Contract Documents and to ensure that products are undamaged and properly protected.

B.	Manufacturer's Requirements:  Contractor shall determine and comply with manufacturer's instructions and recommendations for product handling.

C.	Packaging:  Contractor shall deliver products to Work site in manufacturer's original containers, with labels intact and legible.

1.	Products delivered to Work site shall be in undamaged condition, in manufacturer's original sealed container or other packaging system, complete with labels and instructions for handling, storing, unpacking, protecting, and installing.

2.	Contractor shall maintain packaged materials with seals unbroken and labels intact until time of use.

3.	Products will be subject to rejection if they do not bear required identification or are unsuitably packaged.

D.	Delivery:

1.	Contractor shall address and deliver products to Project site.  Do not deliver products to University campus shipping and delivery department.  Address deliveries to Contractor and Project name.  Do not address products "care of" University.

2.	University will not be responsible for mis-addressed and mis-delivered products, including claims for damage and delay.

E.	Damaged Products:  In event of damage, Contractor shall promptly make replacements and repairs to packaging and contents, as acceptable to University's Representative, at no change in Contract Sum and Contract Time.

PART 2 - PRODUCTS

Not Applicable to this Section.

PART 3 - EXECUTION

Not Applicable to this Section.

END OF SECTION