## 08 14 00 - Wood Doors

36 inches minimum, solid core, birch veneer.

Closeout Submittals:  Samples for University Paint Shop:  Submit documentation of painting system used on “pre-finished” doors, including two manufacturer’s sample finishes for each color and system used on the project.