## 09 29 00 - Gypsum Board

Standard:  5/8-inch, Type X.

Preference:  5/8-inch, Fire-Rated Mold-Resistant Board (XP Gypsum Board panels) complying with ASTM C 1396, Type X