## 09 30 13 - Ceramic Tiling

Standard:  Grout:  Sanded.

Execution:  Seal grout, as soon as possible, after grouting is completed.  Purpose:  To prevent permanent stains from being imbedded in grout.