## 09 60 00 – Floorings

Maintenance Instructions:  Provide Manufacturer’s detailed floor finishing and maintenance instructions for each type of flooring – concrete, ceramic tile, carpeting, linoleum, vinyl composition tile, hardwood, terrazzo, etc.

Bid Alternate:

For areas of high moisture content in concrete, provide binder or other alternate means, acceptable by the manufacturer, to install flooring.