## 09 68 00 - Carpeting

Standard:  Carpet System must meet or exceed the current VOC limits of the Carpet and Rug Institute’s Green Label Indoor Air Quality Test Program.

Maintenance Instructions:  Provide Manufacturer’s detailed floor finishing and maintenance instructions.