## 10 11 16 - Markerboards

Standards: Porcelain steel magnetic white markerboards; 28 gage porcelain enameled steel surface; 50-year manufacturer’s warranty.