## 10 43 21 - Accessibility Evacuation Chair

Campus Standard: Manufacturer:  Garaventa Accessibility, www.evacutrac.com,

Model: Garaventa Accessibility - Model Evacu-Trac CD7. No known equal.

Not Recommended: Manufacturer and Model: EZ Glide™ Evacuation Stair Chair

Reasons:  Capacity and speed control -- Person’s weight capacity is limited to 200 pounds with one person assisting, verses 300 pounds with Garaventa.  No breaks to stop chair on stairs, verses speed control of 1.13 feet per second with Garaventa.