## 10 44 13 – Fire Protection Cabinets

Campus Standard:  Provide lock free fire extinguisher cabinets.

Model: Dependent on installation or condition served.  Submit proposed product for University review.

State Fire Marshal requires that all  extinguishers be accessible at all times.  This also prevents anyone having to break glass in an event when it is needed. If installing fire extinguisher cabinets, do not install key locks on door.  The closing mechanism must be either a roller catch or magnet to secure the door when closed to satisfy this requirement.