## 22 35 00 - Domestic Water Heat Exchangers

Tube Bundles: Standard:  Cupronickel Alloy.  (Note:  Standard grade copper tube bundles corrode within 3-5 years.)

Summary: Related Sections:  Section 23 05 53.13 – Identification for Plumbing and HVAC Equipment.

Equipment: Water Heaters: 10 Year Tank Warranty; State, A.O. Smith, or equal