## 23 41 00 - Particulate Air Filtration

Standard: Provide MERV 13 air filters, with extended surface for long life, and plastic reinforced frames to resist degradation due to coastal moisture.  Specify filters with low pressure drop.