## 23 52 00 - Heating Boilers

Boilers: high-efficiency, fully-modulating with minimum 10:1 turndown. No staging boilers.