## 23 73 00 - Indoor Central-Station Air-Handling Units

Campus Preferred Manufacturers:  Trane, or Pace.

Heating and Cooling Coils: 4-Pipe verses 2-Pipe Interfaces:

Campus strongly prefers to have separate heating and cooling coils.  However, if coils serve both heating and cooling in a 2-pipe configuration, control and isolation valves shall prevent water flow from one closed loop system to the other using positive isolation switchover valves (such as motorized ball valves).

Summary:  Related Sections:  Section 23 05 53.13 – Identification for Plumbing and HVAC Equipment.