## 32 13 00 - Rigid Paving

Concrete Finish:  Stamp location of irrigation sleeves into concrete with a “L.”

All hardscape shall be specified to meet (or exceed) SRI of .28 and comply with aging requirements to comply with current LEED standards. Permeable paving is preferred wherever possible.

Concrete is to include fly ash when feasible.