## 01 00 00 - General Requirements

Campus Standards are noted when a sole source is required to match an existing system on campus (keying, energy management controls, etc.).  The following words shall be included in the specifications: No Substitutions Allowed, or Substitutions: Not Allowed. The sole source may include a manufacturer, or a manufacturer and a specific model.

Campus Preferences are noted when certain items have met with success on campus.  In the specifications are listed first under Products. The campus will attempt to list the required or desired features that make these items a preference.

Products that are Not Recommended are noted when certain items have failed to meet the campus needs, require high or frequent maintenance, have a short life, or are not compatible with campus systems, etc.  The campus will attempt to list the reasons these items are not recommended.