## 06 61 16 - Solid Surfacing Fabrication

### Lavatory Countertops:

- Solid polymer components

- LEED™ NC v4: Credit EQ 2 – Low emitting materials; and Credit MR 3 – Building Product disclosure and optimization – sourcing of raw materials

- Fire response characteristics:  Class A per UL 723 (ASTM E84); Flame Spread Index of 25 or less, and Smoke Development Index of 450 or less

- Warranty:  10 years, minimum

- Provide surface and performance characteristics as Corian® surfaces from the DuPont company