## 07 63 00 - Sheet Metal Roofing Specialties

### Roof penetrations of service utilities:

Preferred Manufacturer:  LSC Corp.

### Pipe Chase Housing:

Removable lid with gasket.  Pipe seals for pipes from ¼-inch to 1½ -inches outside diameter.  Housing with gasket to curb.  3-inch skirt protects leading edge of roof.  Constructed of welded power coated aluminum and stainless steel bolted connections.  2-inch flange out onto roof.  Tower extension allows for space to mount disconnects and control boxes.  Some models are equipped with hose bibb and knock-outs for GFCI.