## 08 06 70 - Hardware Schedule

### Key Schedule

Use this area to list all keys provided on project referencing appropriate Sections.  The Campus prefers to have one listing for all keys

| Key Schedule for {project name} {building number} |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Purpose / Location | Room Number | Keys Required | Total Keys | Model Number | Manufacturer | Section Reference |
| Toilet Accessories |  | 2/ each building restroom/ accessory keyed differently |  |  |  | 10 28 00 Toilet, Bath, and Laundry Accessories |
| Equipment |  | 2 each |  |  |  | Division 11 – Equipment sections |
| Furnishings |  | 2 each |  |  |  | Division 12 – Furnishings sections |
| Elevators |  | 3 keys, 1 installed in elevator pit. |  |  |  | 14 20 00 – Elevators |
| Fire Control Cabinets |  | 2/ each cabinet |  |  |  | 21 00 00 – Fire Suppression |
| Fire Control Padlocks |  | 2/ each Padlock (SFIC cores) |  |  |  | 21 00 00 – Fire Suppression |
| Plumbing |  | 2/ Each were applies |  |  |  | 22 00 00 – Plumbing |
| Plumbing Padlocks |  | 2/ each Padlock (SFIC cores) |  |  |  | 22 00 00 – Plumbing |
| HVAC Equipment Panels |  | 2/ each Panel |  |  |  | 23 00 00 – HVAC |
| HVAC Yard, Doors and Equipment Padlocks |  | 2/ each Padlock (SFIC cores) |  |  |  | 23 00 00 – HVAC |
| Electrical Panels |  | 2/ each panel |  |  |  | 26 00 00 – Electrical |
| Emergency Generator Panels and Equipment |  | 2/ each Padlock (SFIC cores) |  |  |  | 26 00 00 – Electrical |
| Lighting Control Panels |  | 2/ each Panel |  |  |  | 26 00 00 – Electrical |
| Lighting Switches |  | 2/ each switch |  |  |  | 26 00 00 – Electrical |
| Electrical Yard, Equipment, & Switches Padlocks |  | 2/ each Padlock (SFIC cores) |  |  |  | 26 00 00 – Electrical |
| Communications Equipment |  | 2/ each lock |  |  |  | 27 00 00 - Communications |
| Emergency Telephones (Blue Light Phones) |  | 2/ each |  |  |  | 27 00 00 - Communications |
| Communications Equipment Padlocks |  | 2/ each Padlock (SFIC cores) |  |  |  | 27 00 00 - Communications |
| Electronic Safety and Security Panels |  | 2/ each panel |  |  |  | 28 00 00 – Electronic Safety and Security |
| Electronic Safety and Security Equipment Padlocks |  | 2/ each Padlock (SFIC cores) |  |  |  | 28 00 00 – Electronic Safety and Security |
| Irrigation Equipment |  | 2/ each |  |  |  | 32 80 00 – Irrigation |
| Utilities |  | 2/ each |  |  |  | 33 00 00 - Utilities |

Closeout Submittal:  Key Schedule – Provide hard copies and one electronic copy of completed Key Schedule along with keys separated and labeled.