## 09 91 00 - Painting

General:  Close-out Submittals:  Submit two painted samples, 6 inches by 6 inches illustrating each color and system used on the project.

Extra Materials:  University reserves first right of refusal for left-over paint.  2 Fresh gallons of each color for Paint Shop.

General Notes to Design Team

- Recycled Paint for Interior Surfaces:  The use of recycled paint for interior surfaces is not supported by the Standards for technical and quality control reasons.

- The Standard is based on the Green Seal’s Standard GS-11 requirements, and the products listed below meet these requirements.  Recycled paint, as offered by Kelly-Moore, is made from Kelly-Moore paint returned by contractors.  Kelly-Moore sorts by sheen and mixes the paint to provide 14 standard colors.  However, none are an off-white normally used in offices, and the darker colors are not acceptable.  MSDS are not provided, and the products are not guaranteed to be Low VOC product.  Website:  http://www.greenseal.org/certification/environmental.cfm

Painting and Coating Systems must not exceed the current VOC and chemical component limits of the Green Seal’s Standard GS-11 requirements.