## 10 44 16 – Fire Extinguishers

Campus Standard Manufacturer:  Amerex

Model: Dependent on installation or condition served.  Submit proposed product for University review.

Most extinguishers on campus are Amerex.  This brand shall be installed to create consistency in extinguishers campus wide.  This allows the operation/maintenance/replacements to be more manageable (mounting hardware/extinguisher size).