## 14 28 16 - Elevator Controls

Standard: Open protocol, non-proprietary, specified with trouble shooting and operational software, and serviceable by all licensed elevator contractors.

Manufacturer: Motion Control Engineering.  http://www.mceinc.com/.

Elevator Keys: Standard:  Provide 3 keys, installing 1 in elevator pit.

Closeout Submittal: Keys:  Provide manufacturer name and model numbers for keys and coordinate closeout submittal with Section 08 06 05 – Key Schedule.