## 22 14 00 - Facility Storm Drainage

### Acceptable Piping Materials

Above Grade: Service weight, no hub, cast iron soil pipe with cast iron DWV fittings, neoprene coupler with stainless steel clamp and shield.

Below Grade Sanitary Waste: Service weight, no hub, cast iron soil pipe with cast iron DWV fittings, extra heavy neoprene coupler with stainless steel clamp and shield (Husky, Clamp All, or equal).

Insulate building storm water piping inside buildings to prevent building damage due to condensation on the pipe exterior.