## 22 47 00 - Drinking Fountains and Water Coolers

### Water-Station Water Coolers:

- Hydration Station: Elkay Models LZSTL8WSSP and LZSTL8WSLPSurface Mount bottle filling station. Sanitary, touchless activation with auto 20-second shut-off

- WaterSentry Plus 3000-gallon capacity filtration system, certified to NSF/ANSI 42 & 53 (Lead, Class 1 Partiulate, Chlorine, Taste 7 Odor)

- Integrated silver ion anti-microbial protection

- Fill rate: 1.5 gpm; 1.1 gpm when connected to a remote chiller

- Laminar flow to reduce splash

- Real drain system

- Visual user interface display includes:

- Green Ticker counts bottles saved from waste

- LED visual filter monitor indicates when to replace filter

- Optional remote chiller can be installed within 15 feet of unit to deliver chilled drinking water.