## 23 05 53 - Identification for Plumbing and HVAC Equipment:

### Volume/Balancing Dampers:

Plan Notations:  Clearly identify on plans.

Field Identification:  Provide visible, accessible identification.  Example:  Bright-colored streamers.

### Property ID Labels for Equipment:

Submittals:

List of Equipment for Property ID Labels:

- Submit list of equipment for Property ID Labels, including location, function, equipment manufacturer’s name, and model and serial numbers for verification by Engineer.

- After acceptance by Engineer:  Submit hard and electronic copies for assignment of bar-coding identification numbers by Campus Facility Services.

Samples:  Submit two Property ID Labels.

Closeout Submittals: Project Record Documents:  Record actual locations of labeled items; include bar-code numbers, and provide as-built electronic copy of list of equipment with location, function, equipment manufacturer’s name, and model and serial numbers.

Pre-Installation Meetings:

Convene minimum two weeks prior to commencing work of this section.

### Labels:

Description:  Property ID Labels.

- Material:  Anodized Aluminum.

- Size:  2 x 0.875 inches.

- Attachment:  Adhesive backed.

- Message:

- Printed identification:

- First Line:  “[University Name] MEP”

- Second Line:  “Facility Services”

- Bar code:  Code numbers shall be provided by the University Facility Services via the Trustees Representative.