## 23 06 20.13 - Hydronic Pump Schedule

### Flex Connectors / Expansion Joints:

Campus Standard:  Stainless steel T321 bellows type expansion joint with guide rods/travel stops.

Campus Preferred Manufacturer:  DME Incorporated model 551R fixed flange bellows type pump connector, type 321 stainless steel, ANSI 150 lb flanges with raised face, integral tie rod travel limits.  Rated for operating pressure of 150 psi @ 800 degrees F. Website: http://www.dmeexpansionjoints.com/pump-connectors.htm

Summary: Related Sections:  Section 23 05 53.13 – Identification for Plumbing and HVAC Equipment