## 23 54 00 - Furnaces

Standard: Specify high efficiency (>90%) condensing furnace, with long life stainless steel heat exchanger.

Summary:  Related Sections:  Section 23 05 53.13 – Identification for Plumbing and HVAC Equipment.