## 23 74 00 - Packaged Outdoor HVAC Equipment

Summary:  Related Sections:  Section 23 05 53.13 – Identification for Plumbing and HVAC Equipment.

Thermostats: 7-day Programmable:

- Thermostats shall retain program and time settings during power failure without use of backup batteries.

- If possible, thermostats shall be tied to Siemens Energy Management System (EMS), or be BacNET compatible.

- Package or split air conditioning units shall have a minimum SEER of 17.0.