## 28 05 28 - Pathways for Electronic Safety and Security

### Fire Alarm Cables:

Standard:  Fire alarm sensor and network cables shall be in conduit.

### Keys for Cabinets and Padlocks:

- Cabinets and Equipment:  Provide 2 keys per panel.  Coordinate with Section 08 06 05 – Key Schedule.

- Padlocks:  Coordinate with Section 08 06 05 – Key Schedule.

- Closeout Submittal:  Provide panel keys separated and labeled.  Provide location, room number, quantity, manufacturer name and model numbers of keys, and coordinate closeout submittal with Section 08 06 05 – Key Schedule.