## 31 10 00 - Site Clearing

All unsuitable materials, as defined in a Soils Engineering Report, shall be removed from the site and disposed of in a suitable location.

Erosion control measures and BMPs shall be implemented in accordance to the SWPPP and dust control shall be employed at all times.