## 31 23 33 - Trenching and Backfilling

Standard:  Coordinate backfilling with installation of underground duct markers for utilities.  Backfill with sand to 12 inches above utility duct.  Install duct markers 6 inches below finished surface.

Schedule:  Storm and Sanitary Piping:  Cover pipe and bedding with ____ inches

| Utilities | Fill Type | Bedding and Cover Thickness, minimum | Compaction, minimum | Underground Duct Markers |
| --- | --- | --- | --- | --- |
| Water Utilities Including Irrigation | Sand | 1” below 3” above |  |  |
| Sanitary Sewerage Utilities |  |  |  |  |
| Storm Drainage Utilities |  |  |  |  |
| Natural-Gas Distribution Utilities |  |  |  |  |
| Hydronic Utilities |  |  | 95% |  |
| Electrical Utilities |  |  |  |  |
| Communication |  |  | 95% |  |