- Section 33 05 13 - Manholes and Structures

  - PART 1 GENERAL

    - REFERENCE STANDARDS

      - ASTM A48/A48M - Standard Specification for Gray Iron Castings 2003 (Reapproved 2016).

      - ASTM A123/A123M - Standard Specification for Zinc (Hot-Dip Galvanized) Coatings on Iron and Steel Products 2017.

      - ASTM C478 - Standard Specification for Circular Precast Reinforced Concrete Manhole Sections 2018.

      - ASTM C478M - Standard Specification for Circular Precast Reinforced Concrete Manhole Sections (Metric) 2018.

      - ASTM C923 - Standard Specification for Resilient Connectors Between Reinforced Concrete Manhole Structures, Pipes, and Laterals 2018.

      - ASTM C923M - Standard Specification for Resilient Connectors Between Reinforced Concrete Manhole Structures, Pipes, and Laterals (Metric) 2018.

    - SUBMITTALS

      - Product Data: Provide manhole covers, component construction, [________] , features, configuration, and dimensions.

      - Shop Drawings: Indicate manhole locations, elevations, piping sizes and elevations of penetrations.

      - Manufacturer's Qualification Statement.

  - PART 2 PRODUCTS

    - MATERIALS

      - Manhole Sections: Reinforced precast concrete in accordance with ASTM C478 (ASTM C478M), with resilient connectors complying with ASTM C923 (ASTM C923M).

    - COMPONENTS

      - Lid and Frame: ASTM A48/A48M Class 30B Cast iron construction, machined flat bearing surface, removable lockable lid, closed lid design; live load rating of [____] psf ([____] kPa); sealing gasket; lid molded with identifying name. Provide [________] manufactured by [____________] .

      - Manhole Steps: Formed galvanized steel rungs; 3/4 inch (19 mm) diameter. Formed integral with manhole sections.

      - Strap Anchors: Bent steel shape, [__] x [__] inch ([__] x [__] mm) size x [____] inch ([____] mm) thick, galvanized to ASTM A123/A123M Grade specified for applicable material category.

    - CONFIGURATION

END OF SECTION  33 05 13