## 32 33 13 – Bicycle Racks

Bicycle Storage: Covered, lockable, high density parking storage is to be provided.  Racks and base assembly shall be Hot rolled ASTM A36 solid steel bars welded with GMAW (MIG). industrial high gloss powder coated.

Racks should be secured to concrete with two tamper-resistant stainless steel anchors.